## Day 1 - Q&A Report
Question Details
# | Question | Answer(s)
1 | Will a copy of the slides and recording be shared with participants? | The presntation materials will be made available in a few days on www:taylorcoe.org
2 | Is the link to the Tool Kit is accessible to everyone? | Yes anyone can access. The presentation includes the link. Let me know if you have any technical issues and content questions
3 | Should a member state follow global standards, would this mean that the database of the national T&T system be available to parties ourside the country? | No, it means adopting standards from a global standards organization such as GS1, HIBCC, HL7, ICCBBA, ISO
4 | A major challenge for traceability systems is that the world is not aligned between different countries/markets. The variation and complexitiy raises resource needs and costs of distribution. which organizations can push to drive convergence or alignment? | live answered
5 | Are there national T&T systems where manufacturers can actively access the data for their own products? and if so, how would this T&T model be implemented? What would the pros and cons be? | Generally the manufacturer would provide/receive verification data but it would depend on the model used: 1) Centralized model – all traceability data held in a single repository, 2) Semi-centralized model – traceability data held in multiple but few repositories, 3) Distributed model – traceability data held by each actor of the supply chain.
6 | Unit-level serialization to the level of primary packaging, as pharmacy/hospital/clinics are dispensing loose blisters at times. What is the approach to this, if this is focusing on the secondary or up to the primary packaging? | live answered
7 | Hi Anita, the serialization should be on the primary packaging (vial) or on the secondary packaging? In case of the packaging in a pack of ten vials. The concern is because the vial is too small for serialization. | live answered
8 | Question to Anita - Under unit level serialization, primary serialization is currently not practiced across the world and across many MNC pharma companies. It is also not a GS1 standard to implement primary serialization at the moment. The standard is currently secondary packaging serialization level. Does WHO advocates and push for primary serialization? | WHO recommends at least secondary packaging (carton boxes), and if possible, also on the primary packaging (vial or prefilled syringe).
9 | Question to Anita - Under Track and Trace, EU and US region used book-end approach and not full track and track approach. Currently only Russia, China and South Korea adopts full track and trace, What is WHO stance on the track and trace approach for Msia, or for Asia Pacific? | WHO is collating current country and regional experiences for implementation of traceability systems in all Member States, we intend to publish this soon as an atlas of experiences – stay tuned!
10 | Hi Anita, could you elaborate more on why unit level serialization is counter-productive? Especially in the context that it is the easiest to implement | Mandating unit-level serialization without also requiring aggregation data capture during packaging risks slowing down the supply chain with intolerable manual verification and data capture.
11 | Question to Anita - Does WHO advocates serialization using 2D datamatrix barcode or 2D QR code imagery? While QR code is the more popular barcode to use amongst commercial companies, the datamatrix barocde has proven to be better as they are smaller in size, and able to be printed on smaller surfaces. The current GS1 standard for the pharmaceutical industry is a 2D datamatix barcode. | Traceability regulations should integrate measures to help prevent falsification (copying) of the unique identifiers. QR codes and linear barcode may be more prone to copying.
12 | Hi Anita, how effective the serialisation in detecting falsified covid-19 vaccine? Any reported cases that the falsified vaccine has been given to user? | live answered
13 | Question to Anita - Thank you for an excellent presentation and the ICMRA Recommendations on CTD for T&T is in V6 but in draft state. Please can WHO release a final recommendations guidance at the earliest? We are hopeful that this recommendation benefit new countries and regions who are moving in to the serialization space as any exotic new requirements may entail upgrades/enhancements to existing serialization system deployment. | Please check our website next week https://www.who.int/health-topics/substandard-and-falsified-medical-products#tab=tab_1
14 | '@Mr. Khairul, there should be no problem to print on the label of the vial. Usually a laser printer is used for such small print area. | Thank you Mr Goh for the response.
15 | Hi morning. I am seeing from the Marketing aspect. I am intrigued to know who sets pharmaceutical logistics standards ? Who is governing the used of this ? Thank you | National authorities might use regulations to enforce standards for supply chain integrity. WHO good distribution practices for pharmaceutical products is a useful practice resource that many countries might use to develop their regulation and policies https://www.who.int/medicines/areas/quality_safety/quality_assurance/GoodDistributionPracticesTRS957Annex5.pdf
16 | Question to Robert - Thank you for your sharing. Does cold room qualification combine with products stability data? if the temperatrue excursion of cold room was out of 2-8℃ but the products was required in 2-8℃, how can we deal with this issues? The acceptance criteria of cold room was 2-8 ℃ or 2-15℃? | live answered
17 | Hi Robert, how to determine HML locations based on the area size? Any standard guide on this matter? Based on the slides, some area HML locations while some HL or M locations only. | live answered
18 | Is it possible to locate the probe in the middle of the product (between boxes on same shelf)? | live answered
19 | Hi, Robert. I have 2 questions here: 1) What is the duration for temperature mapping? 2) For temperature mapping exercise, if 28 data loggers are abit too many for my company, maybe can we purchase data loggers with lesser amount but with longer period with different locations? | live answered
20 | Hi Robert, If we qualified the refrigerator/freezer, and then we moved it into the other place/area, do we need to requalified it? | live answered
21 | For freezer mapping, how do we do the qualification since there are defrosting cycles in which the temperatures may increase and the highest temperature observed during this period may not be representative | live answered
22 | In ASEAN, ICH Zone4b room temp is defined as 30 +/-2C for the purpose of required stability studies in dossier 3.2.P.8. While I agree that warehouses must strive to maintain temperatures below 30C for long term storage. Given the limits of the stability chamber equipments performance limits are also 30 +/- 2C (since no chamber can maintain exactly 30.0C for 3-4-5 years), why should temperature variations between 30-32C believed to have an impact on product quality? In other words, I believe the product during stability testing would have experienced flunctuations +/- 2C, therefore "excursions" 30-32 should actually not be considered excursions. Would you agree? | For a product to be approved and marketed in ASEAN, it must have long term stability at 30°C. I have seen that a number of pharmaceutical firms are doing all their long term stability at 30°C, skipping 25°C entirely, so that the stability data produced are suitable for worldwide submission. Now, regarding your question: fluctuations of temperature between 30 and 32°C are to be expected and would not be likely to have an impact on the quality of the product. However, if the temperature of a storage area is consistently above 30°C, then I would be concerned about the adequacy of the HVAC and temperature control in that facility. Small fluctuations are understandable and expected, temperatures consistently above 30°C would be a problem.
23 | Would transient spikes be further defined by USP? E.g. time period | Temperature excursions are defined as not more than 24 hours in USP <659> Packaging and Storage Requirements. Tansient spike is not defined in the USP, but to distinguish a transient spike from a temperature excursion, I think that a limit of < 60 minutes would make sense. We will consider this question for future updates.
24 | Question regarding MKT - is it recommended to use MKT to assess temperature excursion for both CRT and cold chain? What would be the rationale for the recommendation to use/not to use MKT to assess temperature excursion? | live answered
25 | Hi Robert, May I clarify whether the Guidance for Storage Qualification is available in USP? | As Desmond noted, this will be incorporated in USP <1079.4> which is expected to be published for comment by the end of this year.
26 | Hi, Chris. For lane mappping, can we do the PQ or PV under simulated chamber (that simulate vibration, pressure and temperature and multiple stops) instead of doing in the real situation? | live answered
27 | Hi Chris, for product with label claim "protect from moisture" , what is your view with regards to humidity control during storage and throughout transportation | live answered